## Table
Feature 4 Equivalency Finder Sheet
Last Update: 1/24/19
|  | Feature Description |  |  | Code | Approval Status Per Feature Part |  |  |  |  | Extent |  | Ruling Details
| Equivalency Number | Concept | Feature Number | Feature Name | Code Short Name | Part 1 | Part 2 | Part 3 | Part 4 | Part 5 | Region of Origin | Global Applicability? | Post Date | Ruling (Condensed)
| 04-0001 | Air | 4 | VOC reduction | AFRDI Green Tick Furniture | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved | Australia | No | 2016-10-24 | (Approved) AFRDI Green Tick Furniture is compliant with Feature 4, Part 5. It should be noted that GECA's allowable emission levels exceed those required in the ANSI/BIFMA e3-2011 Furniture Sustainability Standard, and GECA does not address the VOC emission concentration thresholds required by the ANSI/BIFMA e3-2011 Furniture Sustainability Standard. However, GECA is currently deemed a best in class within its market at this time.
| 04-0002 | Air | 4 | VOC reduction | Green Star Credit 13: Indoor Pollutants | Approved | Approved | Partially Approved | Not Applicable | Not Applicable | Australia | Yes | 2016-10-24 | (Approved) Green Star Credit 13: Indoor Pollutants is considered partially equivalent to WELL Feature 04: VOC reduction. Compliance with the Green Star credit is sufficient to comply with Parts 1 and 2, as well as to a portion of Part 3 (only flooring that is classified as carpeting) of the WELL feature. Projects will still need to comply with Part 3 (all non-carpet flooring), as well as with Parts 4 and 5 in order to fully comply with the Feature.
| 04-0003 | Air | 4 | VOC reduction | Indoor Advantage Gold | Approved | Approved | Not Applicable | Approved | Approved | International | Yes | 2017-01-17 | (Approved) Indoor Advantage Gold is accepted ​a​s an equivalent for F04, Parts 1, 2, 4, and 5.
| 04-0004 | Air | 4 | VOC reduction | Greenstuf | Not Applicable | Not Applicable | Not Applicable | Approved | Not Applicable | International | Yes | 2016-10-24 | (Approved) Greenstuf has been considered an acceptable material, as it complies with GreenGuard Gold Certification, which has been approved as an equivalent standard for Feature 04, Part 4.
| 04-0005 | Air | 4 | VOC reduction | California Green Building Code (CalGreen 2013, Title 24, Part 11) | Approved | Approved | Approved with Caveats | Not Applicable | Not Applicable | United States | Yes | 2017-01-17 | (Approved) CalGreen 2013 Title 24, Part 11, California Green Building code has been approved as an equivalent for F04, Parts 1 and 2. For Part 3, projects are required to meet 100% of the resilient flooring requirements according to CalGreen 2013 Title 24 in order to fully comply with WELL requirements.
| 04-0006 | Air | 4 | VOC reduction | LEED v4 Eqc Low-Emitting Materials Credit | Approved with Caveats | Approved with Caveats | Approved with Caveats | Approved with Caveats | Approved with Caveats | United States | Yes | 2016-10-24 | (Approved) LEED v4 EQc Low-emitting materials credit is deemed equivalent for Parts 1. Please note that the project must adhere to the ""Additional VOC content requirements for wet-applied products"" section (found in LEED v4). Additionally, all newly applied paints and coatings must be in compliance. LEED v4 EQc Low-emitting materials credit is deemed equivalent for Part 2. Please note that the project must adhere to the ""Additional VOC content requirements for wet-applied products"" section (found in LEED v4). Additionally, all newly applied adhesives and sealants must be in compliance. LEED v4 EQc Low-emitting materials credit is deemed equivalent for Part 3. Please note that the project must adhere to the ""General emissions evaluation"" section (found in LEED v4). Additionally, all newly installed flooring must be in compliance. LEED v4 EQc Low-emitting materials credit is deemed equivalent for Part 4. Please note that the project must adhere to the ""General emissions evaluation"" section (found in LEED v4). Additionally, all newly installed insulation must be in compliance. LEED v4 EQc Low-emitting material credit is deemed equivalent for Part 5. Please note that the project must adhere to the ""Furniture evaluation"" section (found in LEED v4). Additionally, 95% (by cost) of all newly purchased furniture and furnishing must be in compliance.
| 04-0006b | Air | 4 | VOC reduction | BREEAM (UK NC/RFO 2014, INC 2016, IRFO 2015) Hea 02 Credit | Approved with Caveats | Approved with Caveats | Approved with Caveats | Not Applicable | Not Applicable | United Kingdom | Yes | 2017-04-07 | (Approved) BREEAM UK NC/RFO 2014, INC. 2016 and IRFO 2015 Hea 02: Indoor air quality - Volatile organic compound (VOC) emission levels (products) credit is deemed equivalent for Part 1. Please note the project must adhere to the Volatile organic compound (VOC) emission levels for products (found in Table 18 in the BREEAM UK New Construction 2014, Table 20 in the UK RFO 2014, Table 17 and 18 in the INC 2016). Additionally, all newly applied paints and coatings must be in compliance. BREEAM UK NC/RFO 2014, INC 2016 and IRFO 2015 Hea 02: Indoor air quality - Volatile organic compound (VOC) emission levels (products)credit is deemed equivalent for Part 2. Please note the project must adhere to the Volatile organic compound (VOC) emission levels for products (found in Table 18 in the BREEAM UK New Construction 2014, Table 20 in the UK RFO 2014, Table 17 and 18 in the INC 2016). Additionally, all newly applied adhesives and sealants must be in compliance. BREEAM UK NC/RFO 2014, INC 2016 and IRFO 2015 Hea 02: Indoor air quality - Volatile organic compound (VOC) emission levels (products) credit is deemed equivalent for Part 3. Please note the project must adhere to the Volatile organic compound (VOC) emission levels for products (found in Table 18 in the BREEAM UK New Construction 2014, Table 20 in the UK RFO 2014, Table 17 and 18 in the INC 2016). Additionally, all newly installed flooring must be in compliance. Note BREEAM equivalency is only applicable for Feature 4 Parts 1-3.
| 04-0007 | Air | 4 | VOC reduction | GreenGuard Gold | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved | United States | Yes | 2017-04-07 | (Approved) GreenGuard Gold is accepted as an equivalent for Feature 4, Part 5
| 04-0008 | Air | 4 | VOC reduction | French VOC emission classification | Approved | Approved | Approved | Approved | Not Applicable | France | Yes | 2017-04-27 | (Approved) Previously published as an AAP: Products and materials that have an A or A+ class rating under the French legislation on VOC emissions meet the requirements of Parts 1, 2, 3, and 4.
| 04-0009 | Air | 4 | VOC reduction | Finnish M1 Label | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved with Caveats | Finland | Yes | 2017-04-27 | (Approved) Previously published as an AAP: The following referenced standards may be used in lieu of ANSI/BIFMA e3-2011 Furniture Sustainability Standard Section 7.6.1 and 7.6.2, testing in accordance with ANSI/BIFMA Standard Method M7.1-2011: - the Finnish M1 label for non-upholstered furniture - the Blue Angel label for upholstered furniture If these standards are used, the furniture must also be separately tested for 4-phenylcyclohexane and total aldehydes and held to the same limits specified in ANSI/BIFMA e3-2011 section 7.6.1 and 7.6.2
| 04-0009b | Air | 4 | VOC reduction | Blue Angel Label | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved with Caveats | Germany | Yes | 2017-04-27 | (Approved) Previously published as an AAP: The following referenced standards may be used in lieu of ANSI/BIFMA e3-2011 Furniture Sustainability Standard Section 7.6.1 and 7.6.2, testing in accordance with ANSI/BIFMA Standard Method M7.1-2011: - the Finnish M1 label for non-upholstered furniture - the Blue Angel label for upholstered furniture If these standards are used, the furniture must also be separately tested for 4-phenylcyclohexane and total aldehydes and held to the same limits specified in ANSI/BIFMA e3-2011 section 7.6.1 and 7.6.2
| 04-0010 | Air | 4 | VOC reduction | Field and Laboratory Emission Cell (FLEC) emissions testing | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved with Caveats | Denmark | Yes | 2017-04-27 | (Approved) Previously published as an AAP: Field and Laboratory Emission Cell (FLEC) emissions testing is approved as an emissions testing methodology only for furniture and furnishings that are made up of a uniform material and have flat testing surfaces on which the FLEC emissions testing methodology may be applied. For example, flat surfaced cabinetry that is made up of a uniform material may be tested using this methodology. However, chairs that are made from a variety of materials that lack flat surfaces may not be tested using this methodology. The emissions test must be administered by a third party investigator with no affiliation with the project. The associated costs are the responsibility of the project team. Additional tests performed in accordance with ISO 16000 methodology must be performed for total aldehydes and 4-Phenylcyclohexane and must meet the thresholds specified in the WELL Building Standard.
| 04-0011 | Air | 4 | VOC reduction | Indoor Air Comfort Gold | Approved | Approved | Approved | Approved | Not Applicable | Europe | Yes | 2017-08-21 | (Approved) Indoor Air Comfort Gold has been approved for Feature 04 - Part 1, 2, 3 and 4. However, Indoor Air Comfort is not an accepted label for meeting WELL Feature 04 Part 1, 2, 3 and 4.
| 04-0011b | Air | 4 | VOC reduction | Indoor Air Comfort | Not Approved | Not Approved | Not Approved | Not Approved | Not Applicable | Europe | No | 2017-07-07 | (Approved) Indoor Air Comfort Gold has been approved for Feature 04 - Part 1, 2, 3 and 4. However, Indoor Air Comfort is not an accepted label for meeting WELL Feature 04 Part 1, 2, 3 and 4.
| 04-0012 | Air | 4 | VOC reduction | eco-INSTITUT-Label (2015 version) | Approved with Caveats | Approved with Caveats | Approved with Caveats | Approved with Caveats | Not Applicable | Europe | Yes | 2017-07-17 | (Approved) eco-INSTITUT-Label (2015 version) has been deemed acceptable for Feature 04 Part 1 - 4 with the following requirement: The formaldehyde limit of 9 µg/m³ at 28 days must be met for products using this label.
| 04-0013 | Air | 4 | VOC reduction | BREEAM-NL New Construction 2014 (Hea 09) | Approved | Approved | Approved | Not Applicable | Not Applicable | Netherlands | Yes | 2017-07-26 | (Approved) BREEAM-NL New Construction 2014, Hea 09 - Volatile Organic Compounds, is an approved alternative to Feature 04 Parts 1-3.
| 04-0014 | Air | 4 | VOC reduction | BREEAM INC 2016 (exemplary level emission criteria) | Not Applicable | Not Applicable | Not Applicable | Approved | Not Applicable | International | Yes | 2017-07-26 | (Approved) Exemplary level emission criteria for BREEAM International New Construction 2016 scheme has been accepted as an equivalent standard to the California Department of Public Health (CDPH) Standard method v1.1-2010 (or later) as specified in Part 4a of this feature. The thresholds are as follows: Formaldehyde limit of 9 µg/m³ TVOC limits of ≤ 0.3 mg/m³ The insulation materials may be tested using one of the following methodologies: ISO 16000-9 CEN/TS 16516 CDPH Standard Method v1.1
| 04-0015 | Air | 4 | VOC reduction | MAS Certified Green | Approved | Approved | Approved | Approved | Approved | United States | Yes | 2017-07-26 | (Approved) MAS Certified Green® has been accepted for Feature 04 Parts 1, 2, 3, 4, 5. The MAS Certified Green® program integrates testing requirements of California Department of Public Health (CDPH) Standard Method V1.1, the BIFMAM7.1 Test Method and Formaldehyde emission testing requirements of the Cal EPA – ARB with chemical emission limits referenced by the USGBC LEED, CHPS and CARB organizations. The MAS Certified Green® program is ISO/TEC 17025 and 17065 compliant and recognized by LEED, CDPH, BIFMA and CHPS. MAS Certified Green® is also accepted for LEED v4 EQ Credit Low-Emitting Materials Third Party Certifications and Labels. It meets CDPH for emissions, CARB or SCAQMD for VOC content (wet-applied), and ANSI/BIFMA for furniture.
| 04-0016 | Air | 4 | VOC reduction | GUT | Not Applicable | Not Applicable | Approved with Caveats | Not Applicable | Not Applicable | Europe | Yes | 2017-07-26 | (Approved) GUT has been accepted for Feature 04 Part 3. The GUT standard was created by the European carpet industry, and aims ""to improve continuously all environmental and consumer protection aspects throughout the life cycle of a textile floor covering (from production to installation, to use phase and recycling"". This standard is only applicable to Part 3, and thresholds are as follows: Termination criteria 3 days after loading: TVOC: 250 µg/m³ Formaldehyde: 9 µg/m³ Desired values 28 days after loading: TVOC: 100 µg/m³ Formaldehyde: 4 µg/m³
| 04-0017 | Air | 4 | VOC reduction | ETL Environmental VOC classification | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved | United States | Yes | 2017-07-26 | (Approved) VOC ETL class 2 and 3, VOC+ ETL Environmental and Formaldehyde-Free, has been accepted for Feature 04 Part 5. 2nd class: VOC+ certificate states conformance to ANSI/ BIFMA e3 standard credits 7.6.1, 7.6.2 and / or credit 7.6.3 which includes California Department of Public Health (CDPH) Standard Method v1.1-2010 (or later). 3rd class: Formaldehyde-Free program includes compliance to the second class listed above, VOC+ ETL Environmental, and compliance to formaldehyde requirements for ultra-low-emitting formaldehyde (ULEF) and no added formaldehyde resins.
| 04-0018 | Air | 4 | VOC reduction | IS 101.2.2.1986, IS 101.2.1:1988 | Approved | Not Applicable | Not Applicable | Not Applicable | Not Applicable | India | Yes | 2017-09-17 | (Approved) IS 101.2.2.1986 and IS 101.2.1.1988 are acceptable equivalent testing method standards in order to measure in accordance with the VOC content threshold limits specified in SCAQMD Rule 1113 for Part 1a.
| 04-0019 | Air | 4 | VOC reduction | IS 101.2.2.1986, IS 101.2.1:1988 | Not Applicable | Approved | Not Applicable | Not Applicable | Not Applicable | India | Yes | 2017-09-18 | (Approved) IS 101.2.2.1986 and IS 101.2.1.1988 are acceptable equivalent testing method standards in order to measure in accordance with the VOC content threshold limits specified in SCAQMD Rule 1168 for Part 2a.
| 04-0020 | Air | 4 | VOC reduction | Australian Carpet Classification Scheme (ACCS) | Approved | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Australia | Yes | 2017-09-21 | (Approved) The Australian Carpet Classification Scheme (ACCS) has been accepted as an equivalent for CDPH Standard Method v1.1-2010 (or later) of Feature 4 Part 1.
| 04-0021 | Air | 4 | VOC reduction | Global GreenTag | Approved | Approved | Approved | Approved | Approved | Australia | Yes | 2017-10-02 | (Approved) Global GreenTag has been approved as an acceptable equivalent to the requirements for Feature 04 Part 1, 2, 3, 4 and 5.
| 04-0022 | Air | 4 | VOC reduction | SGS TVOC laboratory testing method | Not Applicable | Not Applicable | Not Applicable | Approved | Not Applicable | India | No | 2017-10-04 | (Approved) SGS TVOC laboratory testing method has been accepted as an alternative equivalent to Feature 04 Part 4. Note, projects must adhere to the minimum VOC limit requirements of the CDPH Standard Method v1.1-2010 (or later) for VOC emissions. This equivalency may only be used for projects in India.
| 04-0023 | Air | 4 | VOC reduction | ANSI/BIFMA e3 Third-Party verified | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved | United States | Yes | 2017-10-05 | (Approved) Conformance to the ANSI/BIFMA e3 standard by an accredited third-party product certification body is an acceptable alternative for the requirements for Feature 4, Part 5.
| 04-0024 | Air | 4 | VOC reduction | EN 13964:2014 | Not Applicable | Not Applicable | Not Applicable | Approved with Caveats | Not Applicable | Europe | Yes | 2017-10-05 | (Approved) EN 13964:2014 emission testing method has been accepted as an alternative for the requirements of Feature 4, Part 4 for suspended ceilings. Ceilings with heating or cooling properties and walls must meet limits set by the California Department of Public Health Standard Method v1.1-2010 (or later). Formaldehyde emission should be measured in accordance with EN 717-1:2004.
| 04-0025 | Air | 4 | VOC reduction | REACH | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Approved | Europe | No | 2017-10-17 | (Not Approved) The REACH standard has not been accepted as an equivalent to the CDPH Standard Method v1.1-2010 (or later) guidelines for Feature 04 Part 5. Note that the VOC limit thresholds specified in CDPH Standard Method v1.1-2010 guidelines must be met. The VOC limit thresholds for Substances of Very High Concern (SVHC) listed in REACH are not acceptable.
| 04-0026 | Air | 4 | VOC reduction | Floorscore | Not Applicable | Approved | Approved | Not Applicable | Not Applicable | United States | Yes | 2016-10-24 | (Approved) Floorscore has been approved as an equivalent standard F04, Parts 2 and 3.
| 04-0027 | Air | 4 | VOC reduction | OEKO-TEX | Not Applicable | Not Applicable | Not Applicable | Approved | Not Applicable | International | Yes | 2017-11-02 | (Approved) OEKO-TEX is approved as an acceptable equivalent to the requirements of Feature 4 Part 4.
| 04-0028 | Air | 4 | VOC reduction | GEV-EMICODE EC1 and EC1Plus | Approved with Caveats | Approved with Caveats | Approved with Caveats | Approved with Caveats | Not Applicable | Germany | Yes | 2017-11-02 | (Approved) GEV-EMICODE EC1 and EC1Plus is approved as an acceptable equivalent to the requirements of Feature 4 VOC Reduction Part 1, 2, 3 and 4. Note, projects must adhere to the minimum formaldehyde requirement specified in the CDPH Standard Method v1.1-2010 (or later) for VOC emissions.
| 04-0029 | Air | 4 | VOC reduction | M1 (ISO 16000) | Approved | Approved | Approved | Approved | Approved | Finland | Yes | 2017-11-02 | (Approved) M1 (ISO 16000) is approved as an acceptable equivalent to the requirements of Feature 4 VOC Reduction Part 1, 2, 3, 4 and 5.
| 04-0030 | Air | 4 | VOC reduction | M1 (EN-717-1:2004) | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved | Finland | Yes | 2017-11-02 | (Approved) M1 (EN-717-1:2004) is approved as an acceptable equivalent to the requirements of Feature 4 VOC Reduction Part 5.
| 04-0031 | Air | 4 | VOC reduction | CRI Green Label Plus | Not Applicable | Approved | Approved | Not Applicable | Not Applicable | International | Yes | 2017-11-02 | (Approved) CRI Green Label Plus is approved as an acceptable equivalent to the requirements specified in the CDPH Standard Method v1.1-2010 (or later) for Feature 4 Part 2 and 3.
| 04-0032 | Air | 4 | VOC reduction | Blue Angel Label | Approved with Caveats | Approved with Caveats | Approved with Caveats | Not Applicable | Not Applicable | Germany | Yes | 2017-11-02 | (Approved) Blue Angel is approved as an acceptable equivalent to the requirements of Feature 4 VOC Reduction Part 1, 2 and 3. Note, projects must adhere to the minimum formaldehyde requirement specified in the CDPH Standard Method v1.1-2010 (or later) for VOC emissions.
| 04-0033 | Air | 4 | VOC reduction | AgBB | Approved with Caveats | Approved with Caveats | Approved with Caveats | Approved with Caveats | Approved with Caveats | Germany/International | Yes | 2017-11-02 | (Approved) AgBB is approved as an acceptable equivalent to the requirements of Feature 4 VOC Reduction Part 1, 2, 3, 4 and 5. Note, projects must adhere to the minimum formaldehyde requirement specified in the CDPH Standard Method v1.1-2010 (or later) for VOC emissions.
| 04-0034 | Air | 4 | VOC reduction | US EPA Method 24 | Not Applicable | Approved with Caveats | Not Applicable | Not Applicable | Not Applicable | India | No | 2017-12-21 | (Approved) US EPA Method 24 has been accepted as an alternative to the requirements of Feature 04 VOC Reduction, Part 2. Please note that the products must have VOC content below the allowable limits established in SCAQMD as outlined in Part 2a. This equivalency may be used only in India.
| 04-0035 | Air | 4 | VOC reduction | REACH Standard No 1907/2006 | Not Applicable | Not Applicable | Not Applicable | Not Approved | Not Applicable | Poland | No | 2018-01-05 | (Not Approved) REACH Standard No 1907/2006 has not been accepted as an equivalency for the requirements of Feature 04 Part 4. Note that the Equivalency Proposal outlines a strategy for the elimination of hazardous substances through the use of REACH lists but not an equivalency to requirements set in CDPH Standard Method v1.1-2010 (or later).
| 04-0036 | Air | 4 | VOC reduction | TÜV Rheinland Green Product Mark Furniture criteria 2PfG E1992 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved | Germany | Yes | 2018-02-05 | (Approved) TÜV Rheinland Green Product Mark Furniture criteria, 2PfG E1992, has been accepted as an alternative for the requirements of Feature 4 Part 5.
| 04-0037 | Air | 4 | VOC reduction | GB 18580-2001 | Not Applicable | Not Applicable | Not Approved | Not Approved | Not Approved | China | No | 2018-02-05 | (Not Approved) The GB 18580-2001 Indoor Decorating and Refurbishing Materials - Limit of Formaldehyde Emission of Wood-based Panels and Finishing Products has not been accepted as an alternative for the requirements of Feature 4 Part 3, 4 and 5. Note the proposed testing method standard does not include methods for testing VOCs other than formaldehyde.
| 04-0038 | Air | 4 | VOC reduction | European Union Paints Directive 2004/42/EC | Approved | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Europe | No | 2018-03-15 | (Approved) European Union Paints Directive 2004/42/EC has been accepted as an alternative for the requirements of CDPH Standard Method v1.1-2010 (or later) of Feature 04, Part 1 for Europe.
| 04-0039 | Air | 4 | VOC reduction | EU Ecolabel for Paints and Varnishes (2014) | Approved | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Europe | No | 2018-03-15 | (Approved) EU Ecolabel for Paints and Varnishes (2014) has been accepted as an alternative for the requirements of CDPH Standard Method v1.1-2010 (or later) of Feature 04 Part 1 for Europe.
| 04-0040 | Air | 4 | VOC reduction | EU Ecolabel for wooden floor coverings (2010 version) | Not Applicable | Not Applicable | Approved | Not Applicable | Not Applicable | Europe | No | 2018-03-15 | (Approved) EU Ecolabel for wooden floor coverings (2010 version) has been accepted as an alternative for the requirements of CDPH Standard Method v1.1-2010 (or later) of Feature 04 Part 3 for Europe.
| 04-0041 | Air | 4 | VOC reduction | Formaldehyde E1 class | Not Applicable | Not Applicable | Approved | Not Applicable | Not Applicable | Europe | No | 2018-03-15 | (Approved) Formaldehyde E1 class has been accepted as an alternative for the requirements of CDPH Standard Method v1.1-2010 (or later) Feature 04 Part 3 for Europe.
| 04-0042 | Air | 4 | VOC reduction | Blue Angel Label | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved with Caveats | Germany | Yes | 2018-03-20 | (Approved) Blue Angel (Blauer Engel) is approved as an acceptable equivalent to the requirements of Feature 04, Part 5. However, please note that projects must still adhere to the formaldehyde requirements specified in ANSI/BIFMA e3-2011 Furniture Sustainability Standard.
| 04-0046-d1 | Air | 4 | VOC reduction | CertiPUR/EUROPUR | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved | International | Yes | 2018-03-23 | (Approved) CertiPUR/EUROPUR has been accepted as an alternative to the requirements of Feature 04, Part 5, specific to polyurethane foam used in bedding and upholstered furniture. This Equivalency does not cover any other furniture and furnishing components except for the polyurethane foam.
| 04-0044 | Air | 4 | VOC reduction | RAL-GZ-430 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Approved | Europe | No | 2018-03-26 | (Not Approved) RAL-GZ-430 has not been accepted as an equivalent for the ANSI/BIFMA e3-2011 Furniture Sustainability Standard sections 7.6.1 and 7.6.2, of Feature 04, Part 5. Note that RAL-GZ-430 does not identify a comparable requirement for TVOC and 4-Phenylcyclohexene emissions for workstations and seating. Additionally, for cupboard furniture and upholstered furniture, the formaldehyde emissions threshold indicated in RAL-GZ-430 is significantly higher than that mandated by CDPH.
| 04-0045 | Air | 4 | VOC reduction | TÜV Rheinland LGA testing standard 2011 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Partially Approved | Europe | No | 2018-04-03 | (Approved) TÜV Rheinland LGA testing standard 2011 has been accepted as an alternative for the requirements of Feature 04, Part 5. Note that this equivalency may only be used for workstation cabinetry for projects in Europe.
| 04-0046 | Air | 4 | VOC reduction | CertiPUR | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Partially Approved | Europe | No | 2018-04-03 | (Approved) CertiPUR has been accepted as an alternative for the requirements of Feature 04, Part 5. Note this only applies to projects in Europe, specific to polyurethane foam used in bedding and upholstered furniture. This Equivalency does not cover any other furniture or furnishing components except for the polyurethane foam. All other non-foam components of installed furniture must be separately tested and held to the limits specified in ANSI/BIFMA e3-2011 section 7.6.1 and 7.6.2, or other relevant, equivalent standard.
| 04-0047 | Air | 4 | VOC reduction | Formaldehyde E1 class | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved | Europe | No | 2018-04-12 | (Approved) Formaldehyde E1 class has been accepted as an alternative to the requirements of Feature 04, Part 5 for furniture substrates. Note that this is only acceptable for projects in Europe. Also note that the Formaldehyde E1 class is the Option 1 performance requirement for wood panels listed within BREEAM UK New Construction: Hea 02 Indoor Air Quality. Please refer to the previously approved EP on 07 April 2017 (http://standard.wellcertified.com/air/voc-reduction?page=3&view=equivalency) for additional information on Hea 02 Indoor Air Quality.
| 04-0048 | Air | 4 | VOC reduction | GECA Floor Coverings (2017) | Not Applicable | Not Applicable | Approved | Not Applicable | Not Applicable | Australia | Yes | 2018-04-26 | (Approved) The Good Environmental Choice Australia (GECA) Floor Coverings issued July 2017 has been accepted as an alternative for the requirements of Feature 04, Part 3.
| 04-0049 | Air | 4 | VOC reduction | IS 13745:1993 | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Approved | India | No | 2018-05-18 | (Not Approved) The IS:13745-1993 testing method has not been accepted as an alternative for the requirements of CDPH Standard Method v1.1-2010 (or later) of Feature 04 Part 5 for projects in India. E1 class (EN 13986:2004) is an accepted alternative for the requirements of Feature 04 Part 5 for furniture substrates, although only for products aligned with protocols accepted under EN 13986:2004 for Europe.
| 04-0050 | Air | 4 | VOC reduction | Level© certification | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Approved with Caveats | United States | Yes | 2017-10-20 | (Approved) The level© certification has been accepted as an alternative to the ANSI/BIFMA e3-2011 Furniture Sustainability Standard sections 7.6.1 and 7.6.2, tested in accordance with ANSI/BIFMA Standard Method M7.1-2011, requirements of Feature 04. Note that section 7.6 Low Emitting Furniture credits (7.6.1 and 7.6.2) from level© certification must be achieved.
| 04-0051 | Air | 4 | VOC reduction | GECA (PCv2.2iii-2012) | Approved | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Australia | Yes | 2017-12-17 | (Approved) The Good Environmental Choice Australia (GECA) Paints and Coatings (PCv2.2iii-2012) has been accepted as an alternative for the requirements of Feature 04, Part 1.
| 04-0052 | Air | 4 | VOC reduction | GECA (AFSv4.0i-2014) | Not Applicable | Approved | Not Applicable | Not Applicable | Not Applicable | Australia | Yes | 2017-12-17 | (Approved) The Good Environmental Choice Australia (GECA) Adhesives, Fillers and Sealants (AFSv4.0i-2014) has been accepted as an alternative for the requirements of Feature 04, Part 2a.
| 04-0053 | Air | 4 | VOC reduction | GECA (BIMv2.0-2017) | Not Applicable | Not Applicable | Not Applicable | Approved | Not Applicable | Australia | Yes | 2018-05-29 | (Approved) The Good Environmental Choice Australia (GECA) Building Insulation Materials (BIMv2.0-2017) has been accepted as an alternative for the requirements of Feature 04 Part 4.
| 04-0054 | Air | 4 | VOC reduction | Headspace GC/MS | Not Applicable | Not Applicable | Not Applicable | Not Approved | Not Applicable | India | No | 2018-05-29 | (Not Approved) Headspace GC/MS has not been accepted as an equivalent for the requirements of Feature 04 Part 4. The Headspace method does not test for all VOCs that are limited by CDPH v1.1 2010. Note that the Headspace GC/MS method does test for individual VOCs but does not test for as many VOCs as required by CDPH v1.1-2010 (or later), including formaldehyde.
| 04-0055 | Air | 4 | VOC reduction | NEN-EN-ISO 17895 | Approved with Caveats | Approved with Caveats | Not Applicable | Not Applicable | Not Applicable | Netherlands | Yes | 2018-05-29 | (Approved) NEN-EN-ISO 17895 has been accepted as an alternative for the requirements of Feature 04 Parts 1 and 2. Note that while NEN-EN-ISO 17895 is acceptable for determining VOC content, the products must adhere to the VOC limits set forth in CARB 2007, Suggested Control Measures (SCM) for Architectural Coatings, or South Coast Air Quality Management District (SCAQMD) Rule 1113 and Rule 1168.
| 04-0056 | Air | 4 | VOC reduction | GreenGuard Gold | Not Applicable | Not Applicable | Approved | Not Applicable | Not Applicable | International | Yes | 2018-05-29 | (Approved) GreenGuard Gold has been accepted as an equivalent for California Department of Public Health (CDPH) Standard Method v1.1-2010 of Feature 04 Part 3 (or later).
| 04-0057 | Air | 4 | VOC reduction | Natureplus | Approved | Approved | Approved | Approved | Not Applicable | Europe | Yes | 2018-06-13 | (Approved) Natureplus has been accepted as an alternative for the requirements of CDPH Standard Method v1.1-2010 (or later) Feature 04 Part 1, 2, 3 and 4. Note that projects must adhere to the minimum formaldehyde requirement specified in the CDPH Standard Method v1.1-2010 (or later) for VOC emissions.
| 04-0058 | Air | 5 | VOC reduction | HKEPD Recommended Green Specifications | Not Applicable | Not Applicable | Approved | Approved | Approved | Hong Kong | No | 2019-01-23 | (Approved) The "Desirable Requirements” denomination in the Recommended Green Specifications published by the Hong Kong Environmental Protection Department (HKEPD) has been accepted as an alternative for the requirements of Feature 04 Parts 3, 4 and 5. The Recommended Green Specifications published by the Hong Kong Environmental Protection Department (HKEPD) have been deemed to be best in class for Hong Kong, Note: HKEPD thresholds for Formaldehyde and VOC are higher than WELL thresholds.

## Legend
Legend
Column Name | Description
Code Short Name | Descriptor of the standard, rule or label submitted as equivalency
Approval Status per Feature Part | Categorization of the ruling outcome divided on each feature part Approved: The code is approved with no caveats Approved with Caveats: Approval is subject to additional requirements described in the ruling Partially Approved: The equivalency does not encompass all items covered by the reference code Not Approved: The equivalency proposal was not accepted
Region of Origin | Geographic Location of the issuer of the code. It may be labeled as a specific country, a region (e.g., Europe) or as 'International'
Global Applicability? | Yes: The equivalency can be used worldwide No: The equivalency is only applicable in the Region of Origin